SECTION 26 0583 - ADDITIONAL ELECTRICAL EQUIPMENT – ATTIC STOCK

PART 1 - GENERAL

1. Provide unit pricing in Base Bid to furnish and install the following items:
   1. The purpose of these items is to allow for adjustments of Electrical Systems of a minor nature during course of work.
   2. Unused items will be turned over to the Owner with a credit for labor as reflected in the unit prices.
      1. Five (5) fire alarm chime light units and 20 foot of conduit and wire to connect to an adjoining device.
      2. Four (4) fire alarm duct detectors and 20 foot of conduit and wire to connect to an adjoining device.
      3. Two (2) fire alarm control zams with 20 foot of conduit and wire to connect to adjacent device.
      4. Two (2) fire alarm strobe lights with 20 foot of conduit and wire to connect to adjacent device.
      5. Two (2) fire alarm manual pull stations and 20 foot of conduit and wire to connect to adjoining device.
      6. Two (2) 0 to 100 amp 3-pole breakers installed in CCB type panel.
      7. Five (5) duplex outlets with plated in outlet box with 20 foot of conduit and wire to connect to adjacent circuit.
      8. Five (5) single pole switch with plates in outlet box with 20 foot on conduit and wire to connect to adjacent device.

PART 2 - PRODUCTS

* 1. See individual sections for item requirements.

PART 3 - EXECUTION

* 1. Include all items in Base Bid.
  2. Provide a list of unit prices for each item which consist of materials, labor, and equipment required for a complete installation.
  3. Include programming for fire alarm devices.
  4. Attic Stock items to be delivered to Owner in original, unopened package(s), to be stored at a location of Owner’s discretion, with all items clearly identified on the exterior of the package(s).

END OF SECTION